## Worksheet 1
| ASD FieldSpec Pro JR |  |  |  | AisaDUAL
| Laboratory |  | Portable field | Mast-borne | AisaEAGLE | AisaHAWK
| (SYKE no. 6424) |  | (SYKE no. 6424) | (FMI no. 6484) | sensor | sensor
Detector | Silicon photo diode array detector (350–1050 nm) |  |  |  | CCD 12 bit | MCT 14 bit
indium gallium arsenide photo-diode detectors
(900–1850 and 1700–2500 nm)
Wavelength region (nm) | 350–2500 nm |  |  |  | 400–970 nm | 970–2500 nm
Spectral resolution | 3 nm (350–1000 nm) |  |  |  | 5 nm | 6 nm
10–12 nm (1000–2500 nm)
Spectral bands | ∼367 |  |  |  | 359
Measurement head | Fibre optic | Foreoptic | Fibre optic | Fibre optic | Foreoptic
Field of view (FOV) | 25∘ | 8∘ | 25∘ | 25∘ | 17∘
View zenith angle | 0∘ | 0∘ | 0∘ | 11∘ | 0∘
View azimuth angle | 0∘ | 0∘ | 0∘ | 109∘ (forest) | 0∘
267∘ (forest opening)
Fibre-optic head distance to target/flight altitude | 25 cm |  | 45 cm | 30 m (ground) | 800 m
Footprint/ spatial resolution | Ø 11 cm | Ø 3.5 cm | Ø 20 cm | Ø 13.7 m | 80 cm×80 cm
Swath | n/a |  | n/a | n/a | 240 m